The KGN Pillinger range of KIWA (Regulation 4) approved AV & EV Booster Sets are designed and manufactured for use in a variety of applications including water distribution or pressure boosting where the existing water pressure is unable to meet the demand requirements.

Advantages

- Pump performance range extended by shared duty operation

- Compact and bespoke design for custom fit installation

- Variable speed for optimum running costs

Design

- Available in horizontal or vertical bespoke format

EV:	Terminal box & Common volt free contacts (taken from inverters)

AV:	Full control panel c/w individual volt free contacts

Applications

- Commercial properties

- Retail developments

- Apartment blocks

- Water utilities

- Agricultural

- Leisure centres

- Single dwellings

- Light industrial units

- Schools & universities

Features

- Stainless steel base frame

- Booster Sets available inside kiosks

- 316L stainless steel pipework as standard

- Individual motor mounted inverter drives on each pump

- Break tanks, filters and associated ancillary items available

- Single (EV) or Multiple (AV) BMS volt free contacts available

- Optional remote telemetry system to send fault signal alert via SMS text or telephone line

- Slow Fill system to prevent water surge following a power cut or if the unit cuts out due to low water level (AV)

- Anti-vibration mounts and flexible connections offered as standard to reduce noise transmission in the building