The KGN Pillinger BTC places the Break Tank alongside our EV or AV Booster Set range on a stainless steel frame. With multiple tank sizes and dimensions available this unique design permits installation in even the most size restrictive plant rooms.

Advantages

- Efficient use of floor space

- EV or AV Booster set available

- Bespoke design for custom fit installation

Design

One piece or split horizontal tank seated on a stainless steel frame.

EV:    Single or twin pump configuration                                                                                                                                                                             AV:    Multiple pump configurations

Applications

- Commercial properties

- Retail developments

- Apartment blocks

- Water utilities

- Agricultural

- Leisure centres

- Single dwellings

- Light industrial units

- Schools & universities

Features

- Stainless steel base frame

- Insulation of tank is 25 mm as standard

- 316L stainless steel pipework as standard

- Range of inlet valves in multiple sizes available

- Individual motor mounted inverter drives on each pump

- Single (EV) or Multiple (AV) BMS volt free contacts available

- A/B air gaps fitted as standard to offer complete protection for potable water mains

- Optional remote telemetry system to send fault signal alert via SMS text or telephone line

- Slow Fill system to prevent water surge following a power cut or if the unit cuts out due to low water level (AV)

- Anti-vibration mounts and flexible connections offered as standard to reduce noise transmission in the building