The KGN Pillinger CAT 5 Washdown Booster Set is designed to prevent backflow contamination of the mains water supply, while maintaining flow and pressure. The unit is compact, lightweight, and housed in a stainless steel cabinet for easy wall mounting.

Advantages

- Automatic operation

- Simple to wall or floor mount and install

- Easy access and maintenance

Design

Single diaphragm pump and water storage

tank house in a compact stainless steel cabinet

1 outlet connection only

Applications

- Bin store washdown

- Limited boosting applications

Features

- Standard stock item

- Illuminated ‘On/Off’ switch

- Duty: 0.25 l/s @ 2.2 bar (mid curve)

- Lightweight stainless steel cabinet

- Break Tank: 18 litre (4 gallon)

- Glycerine filled pressure gauge

- CAT5 AB Air gap to prevent backflow contamination

- Optional Extra: Cabinet can be fitted with a thermostat controlled heater

Dimensions                          Electrical                                 Approx Weight

Width:  420 mm                     Watts:   0.37 kW                         25 kg                                                                                                                                                            Depth:  370 mm                     Volts:    240 V                                                                                                                                                                           Height: 750 mm                     Amps:   2.3 A