The KGN Pillinger Range of ‘Fill Spill’ units are designed for maintaining pressure on larger sealed systems and built with 304 stainless steel tanks for longevity.

Advantages

- Available in bespoke design builds to fit within plant room constraints

- Capable of temperatures  >120°C and extreme pressure changes

- Eliminates requirement for system expansion vessel

Design

Stainless steel tank connected to packaged booster set, comprising pump/s, control panel and expansion vessel on a single skid.

Applications

For use in larger heating systems where extreme pressure changes and high temperatures are likely.

- Commercial properties

- Apartment buildings

- Leisure centres

- Industrial sites

- Water Utilities

- Office blocks

- Stadiums

- Hospitals

Features

- Multiple pumps configuration

- Multiple BMS volt free contacts

- Stainless steel base frame/skid

- 316L stainless steel pipework as standard

- Bespoke control panel for custom features and functions

- Bespoke stainless steel tank built to size with all connections

- Can be incorporated with other circulation and dosing equipment

- Inverter drive fitting available to achieve constant pressure control

- Remote telemetry system available to send fault signal alert via SMS text or telephone line

- Tank includes thermal spheres to reduce evaporation and assist in calming water at high temperature

- Anti-vibration mounts and flexible connections offered as standard to reduce noise throughout the building

- Can be supplied packaged with the tank on a common base fame or separate with interconnecting pipework between

the tank and the pump set