Stainless Steel Standpipes

304 Stainless steel standpipe enclosure complete with 316L stainless pipework, DN50 PN16 flange for connection to the site FE wash water system and ¾” valved connection on to which the site operators can affix a washdown hose. Drain incorporated to allow the pipe to be emptied after use and insulation around the supplied pipework.

£550.00 + VAT