WashBoost Compact

- KGN Pillinger WashBoost® Compact is the most basic model available within this range.

- Typical application is feeding manual washdown points on Water Utility Wastewater sites.

- Off-site assembled packaged booster set on a fabricated 304 stainless-steel frame installed inside an IP55 enclosure with building services electrics. Requirement for a single power supply only.

- Fixed speed booster unit, pressure transducer controlled via a process controller with adjustable cut-in pressures – removing reliance away from unreliable pressure switches. Process controller forms part of an in-house assembled starter box.

- All components are stocked parts, keeping lead times to a minimum.

- Built to last, 304 stainless steel base frame, 316L stainless steel pipework, electrical components protected from a direct jet of water. High efficiency IE3 motor.