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WashBoost® Pro 

[Pro is supposed to stand for ‘Process’; this unit is designed to be installed for use with process critical plant – appreciate the other words don’t stand for anything… so not sure whether we want to focus too much on this.]

· A step up from the WashBoost® Twin, the WashBoost® Pro is designed for use with process critical plant. Incorporating a Form 4 local control panel, the system can be fully maintained without interrupting the supply to site. 
· The WashBoost® Pro is offered with an optional pre-constructed enclosure that would be delivered to site and lowered over the top of the booster set. Our pre-constructed enclosures are designed to provide ‘wet’ and ‘dry’ compartments. 
· Pump and vessel weights on this system exceed manual handling limits, the enclosure design allows the use of Reid Lifting equipment for removing these items for maintenance – ‘ALM’ friendly.
· Local delivery pressure readings available in both ‘wet’ and ‘dry’ compartments. 
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